# Pixelence QMS Software Development Specification

Version: 0.1 Draft

## 1. Purpose

Develop a web-based Quality Management System (QMS) for Software as a Medical Device (SaMD) supporting ISO 13485, ISO 14971, IEC 62304, FDA 21 CFR Part 820/11, and EU MDR workflows.

## 2. Objectives

Centralize quality processes, maintain traceability, enforce controlled workflows, electronic signatures, audit trails, and AI-assisted quality operations.

## 3. Architecture

Frontend: Next.js + React.
Backend: NestJS.
Database: PostgreSQL.
Object Storage: MinIO.
Workflow: Temporal.
Authentication: OAuth2/OIDC with RBAC and MFA.

## 4. Core Modules

• Dashboard
• Document & Change Control
• Training Management
• Design & Development Control (Digital DHF)
• Requirements & Traceability
• Risk Management (ISO 14971)
• CAPA & Nonconformance
• Complaint Handling & PMS
• Supplier Quality
• Audit Management
• Management Review
• Reporting & Analytics
• Administration

## 5. Functional Requirements

FR-001 Secure login with RBAC.
FR-002 Electronic signatures compliant with Part 11.
FR-003 Immutable audit trail for all record changes.
FR-004 SOP lifecycle with version control.
FR-005 Change requests linked to risks, requirements and releases.
FR-006 Risk register with hazards, controls and residual risk.
FR-007 Digital Design History File with complete traceability.
FR-008 CAPA workflow from initiation through effectiveness review.
FR-009 Supplier qualification and periodic review.
FR-010 Complaint handling and post-market surveillance.
FR-011 Internal audits with findings linked to CAPAs.
FR-012 Executive management review dashboards.
FR-013 AI assistants for SOP drafting, risk suggestions and traceability review.

## 6. Non-functional Requirements

Availability: 99.9%
Audit logging for every transaction
Encryption in transit and at rest
Responsive UI
API-first architecture
Horizontal scalability
Configurable workflow engine

## 7. Data Model

Key entities: Users, Roles, Documents, Versions, Trainings, Requirements, Risks, Hazards, Tests, CAPAs, Complaints, Suppliers, Audits, Reviews, Electronic Signatures, Notifications.

## 8. Integrations

GitHub/GitLab, Azure AD/Google Workspace, Email, SSO, PDF generation, OCR, AI LLM services.

## 9. Development Roadmap

Phase 1: Core QMS
Phase 2: Design Control
Phase 3: Risk & CAPA
Phase 4: PMS & Audits
Phase 5: AI Automation

## 10. Acceptance Criteria

Every module includes workflow validation, permissions, audit trail, electronic signature support, reporting, API coverage and automated testing.